کاتالوگ دستگاه :

| TECHNICAL DATA / MICROPLAN - TR |  |  |
| --- | --- | --- |
|  | 2 Hp , 1500 w , 380 v , Electric Motor |  |
|  | 8" ( 200 mm ) continuous rim diamond blade |  |
|  | 150 mm Diamond grinding CUP |  |
|  | Stainless Steel sensitive micrometer, 5 micron accuracy |  |
|  | Automatic Vacuum Sample Holder for cutting and grinding |  |
|  | Vacuum unit for automatic Holders, "Vacumet 850" |  |
|  | Dewatering and Vacuum pressure regulator Box ,"Univac- 4" |  |
|  | Electronic Controller Board |  |
|  | Heavy -duty cast antioxidant alloy base / Stainless steel frame |  |
|  | Halogen grinding unit light |  |
|  | Recirculating cooling unit with 40 Liter coolant tank |  |
|  | Electronic brake |  |