کاتالوگ دستگاه :

| TECHNICAL DATA / CORDRIL – 100 D |  |  |
| --- | --- | --- |
|  | Electric motor | 380 V , 50Hz – 60Hz |
|  | POWER | 1100w |
|  | Main speed | 3000 RPM |
|  | Max. core available length | 25 Cm |
|  | Max. core available Dia. | 12 Cm |
|  | Sample fixture gape | 20 Cm interval |
|  | Lubricating system | Open / circulating |
|  | Lubricant Electric Pump | 220 V, 50 Hz , 90 W |
|  | Hand operating | MODEL: CORDRIL- 100 |
|  | Hand operating / automatic | MODEL: CORDRIL- 100D |
|  | Approx. dimension | 80 Kg |
|  | Approx. dimension ( Cm ) | 50 w × 60L × 80 H |