کاتالوگ دستگاه :

| TECHNICAL DATA / SUPERCUT -100 |  |  |
| --- | --- | --- |
|  | Electric motor | 220 v / 50 – 60 Hz |
|  | POWER | 750W |
|  | Usage | For cut off all materials |
|  | Cut off wheel | 150 – 200 mm |
|  | Cooling / Lubricant | Water / Lubricant spray |
|  | Sample size | Max . 80 mm |
|  | Base | Anti corrosive alloy |
|  | Body/ cutting system | Stainless steel |